{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["普通或危化品源"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"普通或危化品源","index":0,"n_rows":4,"n_cols":3,"rows_kept":4,"merged":[[1,0,1,2]]}
["附件2"]
["挂网产品清单"]
["序号","产品名称","产品描述"]
[1,"颅内深部电极","用于癫痫外科手术前监测脑深部病灶癫痫异常放电情况，定位致痫灶部位；\n癫痫外科手术中监测脑深部指定部位癫痫异常放电情况；\n电极点位8个以上，工作长度26.5mm以上"]