{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":22,"n_cols":6,"rows_kept":22,"merged":[[0,0,0,1],[1,0,1,5]],"flags":["formulas_cached_only"]}
["附件1"]
["公开挂网征询产品清单"]
["序号","需求科室","项目及品种名称","关键参数","单位","提交资质和报价时间"]
[1,"眼科","一次性使用冲洗吸引管路","1.接口口径适应美国ALCON infiniti超声乳化手柄链接；\n2.用于眼科超声乳化手术时的抽吸、灌注液体通道。","支","2024年4月28日9时至9时30分"]
[2,"疼痛康复科","植入式脊髓刺激测试电极","1.多种程控模式；\n2.有随体位调节功能。","套","2024年4月28日9时至9时30分"]
[3,"检验医学中心-输血科","人类免疫缺陷病毒抗体（HIVI/2）检测试剂","1.规格：50人份/盒，卡型；\n2.检测方法：胶体金法或乳胶法；\n3.检测样本：全血、血清、血浆。","盒","2024年4月28日9时至9时30分"]
[4,"放射科、口腔科、眼科","脱脂棉球","1.≥50粒/包，≤80粒/包；\n2.0.3g（±0.1g）/个；\n3.灭菌。","个","2024年4月28日9时至9时30分"]
[5,"消化内科","体温计","1.用于腋下体温监测；\n2.测量范围在35度至42度；\n3.测量误差±0.1度；\n4.汞柱加数字显示体温数值；\n5.玻璃管加汞加支架材质。","个","2024年4月28日9时至9时30分"]
[6,"耳鼻喉科","医用棉签","1.长度为15cm; \n2.木棒粗细适宜；\n3.棉花头含量及紧实度。","支","2024年4月28日9时至9时30分"]
[7,"妇产科","医用棉签","1.长度为20cm; \n2.棉花头含量；\n3.棉花头紧实度；\n4.木棒的光滑度。","支","2024年4月28日9时至9时30分"]
[8,"神经外科","深部电极","1.深部电极记录触点≧16；\n2.深部电极触点间距1.5mm；\n3.深部电极配套连接线能够与日本光电、尼高力脑电图机器配套使用。","支","2024年4月28日9时至9时30分"]
[9,"放射科","医用无菌敷料","1.规格：6*7-9cm；\n2.菱形；\n3.敷料海绵面积小，黏贴面积大。","片","2024年4月28日9时至9时30分"]
[10,"口腔科","牙科用毛刷","采用塑料（聚丙烯）制成。","瓶","2024年4月29日9时至9时30分"]
[11,"口腔科","通用粘结剂","1.通用粘结剂激活剂主要由乙醇、对甲苯磺酸钠盐组成；通用酸蚀剂主要由去离子水/水、磷酸、二氧化硅乳胶、聚乙二醇组成；\n2.薄膜厚度≦25um,牙本质小管封闭率>90%，粘结强度>20mpa,光照时间10s。","瓶","2024年4月29日9时至9时30分"]
[12,"口腔科","吸潮纸尖","通常为纸质或纯棉纤维质的锥形尖，0.02锥度。","盒","2024年4月29日9时至9时30分"]
[13,"整形外科","一次性使用扩张器","1.由壳体、导管、注射壶三部分组成应用；\n2.采用医用硅橡胶材料制成；\n3.注射壶底部为不锈钢材料，密封完整不漏水、回弹性好允许多次扎入；\n4.产品经过严格灭菌，可植入人体；\n5.形装包含肾形、圆柱形、长方形，容量50-1000ml。","个","2024年4月29日9时至9时30分"]
[14,"整形外科","医用创面敷料","1.形状为圆形或椭圆（非方形、长方形），尺寸≥20-23（cm)；\n2.材质为敷贴型，非喷用型、糊状型、液体型、乳膏型、油纱布型；\n3.成分为高分子黏多糖/透明质酸纳或海藻糖或酵母发酵产物提取物，非胶原蛋白类敷贴；\n4.不含有防腐剂成分，如：羟苯甲酯/对羟基苯甲酸甲酯、苯甲酸钠等。\n","盒","2024年4月29日9时至9时30分"]
[15,"妇产科生殖中心","配子缓冲液","1.功能用途：为在大气环境下处理卵母细胞及胚胎提供模拟母胎的发育环境，维持PH的稳定，保证胚胎质量 ；\n2.产品戌分全面，主要采用MOPS 缓冲体系或HEPES缓冲体系。","瓶","2024年4月29日9时至9时30分"]
[16,"妇产科","一次性使用隔离套","1.环氧乙烷灭菌；\n2.无油，无粉；\n3.长度≧30cm。","个","2024年4月29日9时至9时30分"]
[17,"妇产科","隔离超声膜","1.宽≥52mm，长≥180mm；\n2.厚度＞0.05mm。","个","2024年4月29日9时至9时30分"]
[18,"妇产科","一次性冲洗连接管","1.管径7.5-7.8mm; \n2.管长1500-1900mm；\n3.采用医用聚氯乙烯材料；\n4.适用范围：手术中冲洗创面或创口。","根","2024年4月29日9时至9时30分"]
[19,"手术室","一次性使用灭菌橡胶外科手套","1.材质为天然橡胶；\n2.手指向手掌弯曲；\n3.麻面、无菌，规格：6.5/7.0/7.5/8.0。","副","2024年4月29日9时至9时30分"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}