{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["公示表"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"公示表","index":0,"n_rows":55,"n_cols":9,"rows_kept":55,"merged":[[0,0,0,8],[1,0,1,1],[2,0,3,0],[2,1,2,3],[2,4,2,7],[2,8,3,8]]}
["维修配件采购公示表"]
["制表时间：2024.10.14"]
["序号","设备信息",null,null,"配件信息",{"$nulls":3},"备注"]
[null,"设备名称","厂家","型号","品名","品牌","规格型号/货号","数量"]
[1,"主动脉内球囊反搏泵","美国DATASCOPE","CS100","加压袋","史密斯","MAX4705",10]
[2,"呼吸机","飞利浦","V60","锂电池","飞利浦","14.4V，11Ah",1]
[3,"牙科综合治疗台","卡瓦","unik","牙科手机维修","卡瓦等","/","一批"]
[4,"二氧化碳培养箱","Thermo",3111,"HEPA过滤器","赛默飞",760175,1]
[5,"二氧化碳培养箱","Thermo",3111,"HEPA过滤器","赛默飞",50141920,1]
[6,"二氧化碳培养箱","Thermo",3112,"浓度探头","赛默飞",10013072,1]
[7,"呼吸机","美国VIASYS","VELA","主板或主板维修","/","/",1]
[8,"超声骨刀","啄木鸟","DS-Ⅱ LED","工作尖","啄木鸟","US7",2]
[9,"电子支气管镜","日本潘太克斯","EB15-J10","主机EPK-3000 150W 氙灯光源","PENTAX","Y1952",1]
[10,"心电分析系统","北京麦迪克斯","MECG300","吸球","北京麦迪克斯","MECG一300Q",1]
[11,"呼吸机","德国帷幔","Medumat standard","电池","帷幔","accu-pack wm 45045",1]
[12,"离心机","thermo","st16","主板更换或维修","thermo","st16",1]
[13,"监护仪","日本光电","6701C","多参数板","光电","/",1]
[14,"体外冲击波治疗仪","STORZ","MASTERPULS MP-50","治疗手柄维修","STORZ","R-SW",1]
[15,"超声诊断仪","迈瑞","DC-6 ExpertII","I/O接口板","迈瑞","/",1]
[16,"超声诊断仪","飞利浦","iu elite","后端EMB主板故障","飞利浦","EMB主板",1]
[17,"多导睡眠记录仪","澳大利亚CompumedicsLimited","Somte","热敏口鼻气流传感器","Somte","/",1]
[18,"多导睡眠记录仪","澳大利亚CompumedicsLimited","Somte","胸式呼吸绑带","Somte","/",1]
[19,"多导睡眠记录仪","澳大利亚CompumedicsLimited","Somte","腹式呼吸绑带","Somte","/",1]
[20,"多导睡眠记录仪","澳大利亚CompumedicsLimited","Somte","血氧饱和度探头","Somte","/",1]
[21,"超声诊断仪","日立","HI VISION Avius L","浅表探头","日立","EUP-L74M",1]
[22,"动脉硬化检测装置","欧姆龙","BP-203RPEIII","动脉脚踝袖带（左）","欧姆龙","/",4]
[23,"动脉硬化检测装置","欧姆龙","BP-203RPEIII","动脉脚踝袖带（右）","欧姆龙","/",4]
[24,"动脉硬化检测装置","欧姆龙","BP-203RPEIII","动脉上臂袖带（左）","欧姆龙","/",2]
[25,"动脉硬化检测装置","欧姆龙","BP-203RPEIII","动脉上臂袖带（右）","欧姆龙","/",2]
[26,"宫腔镜","奥林巴斯","OTA-S190","电切镜管鞘维修","奥林巴斯","A42011A",1]
[27,"宫腹腔双镜联合手术内镜","STORZ","TC300","冷光源","STORZ","20134020",1]
[28,"荧光高清腹腔镜系统","欧谱曼迪","OPTO-CAM2100","光纤","欧谱曼迪","/",1]
[29,"手术动力系统","美敦力","EC300","角度驱动附件","美敦力","AA10S",1]
[30]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]