{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["公示表"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"公示表","index":0,"n_rows":55,"n_cols":9,"rows_kept":55,"merged":[[0,0,0,8],[1,0,1,1],[2,0,3,0],[2,1,2,3],[2,4,2,7],[2,8,3,8]]}
["维修配件采购公示表"]
["制表时间：2024.10.17"]
["序号","设备信息",null,null,"配件信息",{"$nulls":3},"备注"]
[null,"设备名称","厂家","型号","品名","品牌","规格型号/货号","数量"]
[1,"空气压缩机","江苏东成","Q1E-2850","空气压缩机维修","/","/",1]
[2,"数字X射线摄影系统","深圳迈瑞","Digieye560","人机接口板PCBA","深圳迈瑞","/",1]
[3,"数字X射线摄影系统","深圳迈瑞","Digieye560","SID 533B1103JLB电位器及连线","深圳迈瑞","/",1]
[4,"全身型双能X线骨密度仪","美国GE","DPX-NT","探测器","美国GE","1M.25/1.5L-X",1]
[5,"高效液相色谱仪","新加坡Waters","I-Class","通讯板","新加坡Waters","/",1]
[6,"高效液相色谱仪","新加坡Waters","I-Class","泵主板","新加坡Waters","/",1]
[7,"超纯水仪","赛默飞（Thermo）","PacificⅡ+Genp","控制板更换或维修","thermo","/",1]
[8,"超纯水仪","赛默飞（Thermo）","PacificⅡ+Genp","管路更换","/","/",1]
[9,"微动力手术系统","史赛克","Core","摆锯维修\n（微型马达、轴承组）","史赛克",5400034000,1]
[10,"微动力手术系统","史赛克","Core","往复锯维修\n（锁定组件）","史赛克",5400037000,1]
[11,"微动力手术系统","史赛克","Core","微型钻维修\n(插入部、卡爪、传动组件）","史赛克",5400015000,1]
[12,"纯水仪","重庆摩尔","基因型1810A","PP棉滤芯","/","10寸",1]
[13,"纯水仪","重庆摩尔","基因型1810A","活性炭滤芯","/","10寸",1]
[14,"纯水仪","重庆摩尔","基因型1810A","反渗透膜","/","200G",1]
[15,"纯水仪","重庆摩尔","基因型1810A","纯化柱","/","进口树脂（双只电阻率》=18.25）",1]
[16,"纯水仪","重庆摩尔","基因型1810A","纯化柱","/","进口树脂（单只电阻率》=18.25）",1]
[17]
[18]
[19]
[20]
[21]
[22]
[23]
[24]
[25]
[26]
[27]
[28]
[29]
[30]
[30]
[31]
[32]
[33]
[34]
[35]
[36]
[37]
[38]
[39]
[40]
[41]
[42]
[43]
[44]
[45]
[46]
[47]
[48]
[49]
[50]